## Slide 1: Super-resolution MRI Using Finite Rate of Innovation Curves
Greg Ongie*, Mathews Jacob
Computational Biomedical Imaging Group (CBIG)
University of Iowa
ISBI 2015 New York City

## Slide 2
Introduction
Off-the-Grid Image Recovery: New Framework
Algorithms
Experiments
Discussion & Conclusion

## Slide 3
Our goal is to develop theory and algorithms for off-the-grid imaging
Off-the-grid = Continuous domain representation
Avoids discretization errors
Continuous domain sparsity Discrete domain sparsity
Few measurements

## Slide 4
SR MRI: k-space undersampling approach
  Modalites: Multi-slice, Dynamic, MRSI
CS MRI
Outside MRI: Deconvolution Microscopy, Denoising, etc.
interpolation
extrapolation
Wide-range of applications
vs.

## Slide 5
Main inspiration: Finite-Rate-of-Innovation (FRI)
Uniform Fourier samples
Off-the-grid
PWC signal
  Recent extension to 2-D images: Pan et al. (2014), “Sampling Curves with FRI”

## Slide 6
Annihilation Relation:
spatial domain
multiplication
annihilating function
annihilating filter
convolution
Fourier domain

## Slide 7
annihilating function
annihilating filter
Stage 1: solve linear system for filter
recover signal
Stage 2: solve linear system for amplitudes

## Slide 8
Isolated Diracs
Extensions of FRI recovery to higher dimensions is non-trivial!
2-D PWC function
Diracs on a Curve

## Slide 9
Introduction
Off-the-Grid Image Recovery: New Framework
Algorithms
Experiments
Discussion & Conclusion

## Slide 10
spatial domain
Fourier domain
multiplication
annihilating function
annihilating filter
convolution
Recall 1-D Case…

## Slide 11
2-D PWC functions satisfy an annihilation relation
spatial domain
Annihilation relation:
Fourier domain
multiplication
annihilating filter
convolution

## Slide 12
Can recover edge set when it is the level-set of a 2-D bandlimited function (Pan et al., 2014)
“FRI Curve”

## Slide 13
21x21 coefficients
13x13 coefficients
Multiple curves
& intersections
Non-smooth
points
Approximate
complex curves
7x9 coefficients
FRI curves can represent complicated edge geometries

## Slide 14
Pan et al. (2014):
2-D only
No uniqueness guarantees
New formulation:
Extends to n-D
Provable uniqueness
Fewer samples
We give an improved theoretical framework for higher dimensional FRI recovery
PW complex analytic
PW constant/polynomial

## Slide 15
Sampling guarantees for unique edge set recovery
Theorem: If the level-set function is bandlimited to we can recover it uniquely from Fourier samples in
Necessary
Sufficient

## Slide 16
Introduction
Off-the-Grid Image Recovery: New Framework
Algorithms
Experiments
Discussion & Conclusion

## Slide 17
LR INPUT
Two-stage SR MRI recovery scheme:
1. Recover edge set
Off-the-grid
HR OUTPUT
Extrapolate k-space
2. Recover amplitudes

## Slide 18
LR INPUT
Two-stage SR MRI recovery scheme:
Off-the-grid
1. Recover edge set
2. Recover amplitudes
Computational Challenge!
Off-the-grid
Spatial
Domain Recovery
Discretize
HR OUTPUT
2. Recover amplitudes
On-the-grid

## Slide 19
  Spurious zeros / model order selection
  2. Sensitivity to noise /
  model-mismatch
Practical difficulties to recovery of annihilating filter/edge set

## Slide 20
Matrix representation of annihilation
2-D convolution matrix
(block Toeplitz)
2(#shifts) x (filter size)
gridded center
k-space samples
vector of filter coefficients

## Slide 21
Annihilation matrix is typically low-rank
Prop: If the level-set function is bandlimited to and the assumed filter support then
Spatial domain
Fourier domain

## Slide 22
1. Compute SVD
Stage 1: Robust annihilting filter estimation
Average over entire null-space
Eliminates spurious zeros / improves robustness
Generalizes Spectral MUSIC
3. Compute sum-of-squares average
Recover common zeros
2. Identify null space

## Slide 23
Stage 2: Weighted TV Recovery
discretize
relax
x = discrete spatial domain image
A = Fourier undersampling operator
D = discrete gradient
b = k-space samples
Edge wts.
If f is PWC with edges then it is a minimizer of:
  Annihilation relation

## Slide 24
Introduction
Off-the-Grid Image Recovery: New Framework
Algorithms
Experiments
Discussion & Conclusion

## Slide 25
Recovery of Phantoms (Noiseless)
Analytical phantoms from (Guerquin-Kern, 2012)
x8
x4

## Slide 26
Recovery of Phantoms (Noisy)
25dB complex AWGN added to k-space
x8
x4

## Slide 27
Recovery of Real MR Data
Simulated Single Coil Acquisition (8 Coil SENSE w/phase)
x2

## Slide 28
Introduction
Off-the-Grid Image Recovery: New Framework
Algorithms
Experiments
Discussion & Conclusion

## Slide 29
Entirely off the grid
Extends to CS paradigm
Fast algorithm
Use regularization penalty for other inverse problems off-the-grid alternative to TV, HDTV, etc
We can pose recovery as a structured low-rank matrix completion problem [*]
or
  Data Consistency
  Regularization penalty
  [*]Accepted to SampTA 2015

## Slide 30
20-fold accel.

## Slide 31
Summary
New framework for off-the-grid image recovery
  Piecewise polynomial signal model
  Extends easily to n-D
  Sampling guarantees
Two stage recovery scheme for SR MRI
  Robust edge mask estimation
  Fast weighted TV algorithm
  Better performance than standard TV
Novel Fourier domain low-rank prior
  Convex, Off-the-Grid, & widely applicable
WTV

## Slide 32
Thank You!
Acknowledgements
Supported by grants: NSF CCF-0844812, NSF CCF-1116067, NIH 1R21HL109710-01A1, ACS RSG-11-267-01-CCE, and ONR-N000141310202.
References
Pan, H., Blu, T., & Dragotti, P. L. (2014). Sampling curves with finite rate of innovation. Signal Processing, IEEE Transactions on, 62(2), 458-471.
Guerquin-Kern, M., Lejeune, L., Pruessmann, K. P., & Unser, M. (2012). Realistic analytical phantoms for parallel Magnetic Resonance Imaging.Medical Imaging, IEEE Transactions on, 31(3), 626-636
Ongie, G., & Mathews, J. (2015) Recovery of Piecewise Smooth Images from Few Fourier Samples. SampTA 2015, to appear.