## Slide 1: Off-the-Grid Compressive Imaging: Recovery of Piecewise Constant Images from Few Fourier Samples
Greg Ongie
PhD Candidate
Department of Applied Math and Computational Sciences
University of Iowa
April 25, 2016
U. Michigan, CSP Seminar

## Slide 2
Our goal is to develop theory and algorithms for compressive off-the-grid imaging
Off-the-grid = Continuous domain representation
Compressive off-the-grid imaging: Exploit continuous domain modeling to improve image recovery from few measurements
Few measurements

## Slide 3
Motivation: MRI Reconstruction
  Main Problem: Reconstruct image from Fourier domain samples
  Related: Computed Tomography, Florescence Microscopy

## Slide 4
Uniform Fourier Samples = Fourier Series Coefficients

## Slide 5
Fourier Interpolation
Fourier Extrapolation
vs.
Types of “Compressive” Fourier Domain Sampling
radial
random
low-pass
Super-resolution recovery
“Compressed Sensing” recovery

## Slide 6: CURRENT DISCRETE PARADIGM

## Slide 7
“True” measurement model:
Continuous
Continuous

## Slide 8
“True” measurement model:
Approximated measurement model:
DISCRETE
DISCRETE
Continuous
Continuous

## Slide 9
Continuous
DFT Reconstruction
Continuous

## Slide 10
Continuous
DFT Reconstruction
Continuous
DISCRETE

## Slide 11
Continuous
DFT Reconstruction
Continuous
DISCRETE
DISCRETE

## Slide 12
“Compressed Sensing” Recovery
Full sampling is costly! (or impossible—e.g. Dynamic MRI)

## Slide 13
“Compressed Sensing” Recovery
Randomly Undersample

## Slide 14
“Compressed Sensing” Recovery
Convex Optimization
Sparse Model
Randomly Undersample

## Slide 15
Convex Optimization
Sparse Model
Example:
Assume discrete gradient of image is sparse
Piecewise constant model

## Slide 16
Recovery by Total Variation (TV) minimization
TV semi-norm: i.e., L1-norm of discrete gradient magnitude

## Slide 17
Recovery by Total Variation (TV) minimization
TV semi-norm: i.e., L1-norm of discrete gradient magnitude

## Slide 18
Recovery by Total Variation (TV) minimization
Sample locations
TV semi-norm: i.e., L1-norm of discrete gradient magnitude
Restricted DFT

## Slide 19
Recovery by Total Variation (TV) minimization
Convex optimization problem
Fast iterative algorithms: ADMM/Split-Bregman, FISTA, Primal-Dual, etc.
TV semi-norm: i.e., L1-norm of discrete gradient magnitude
Restricted DFT
Sample locations

## Slide 20
Example:
25% Random Fourier samples
(variable density)
Rel. Error = 30%

## Slide 21
Example:
Rel. Error = 5%
25% Random Fourier samples
(variable density)

## Slide 22
  Theorem [Krahmer & Ward, 2012]: If has s-sparse gradient, then f is the unique solution to (TV-min) with high probability provided the number of random* Fourier samples m satisfies
* Variable density sampling

## Slide 23: Summary of DISCRETE PARADIGM
Approximate
Fully sampled: Fast reconstruction by
Under-sampled (Compressed sensing): Exploit sparse models & convex optimization
  E.g. TV-minimization
  Recovery guarantees

## Slide 24: Summary of DISCRETE PARADIGM
Approximate
Fully sampled: Fast reconstruction by
Under-sampled (Compressed sensing): Exploit sparse models & convex optimization
  E.g. TV-minimization
  Recovery guarantees

## Slide 25
Problem: The DFT Destroys Sparsity!
Continuous

## Slide 26
Problem: The DFT Destroys Sparsity!
Continuous
Exact Derivative

## Slide 27
Problem: The DFT Destroys Sparsity!
Continuous
DISCRETE
Sample
Exact Derivative

## Slide 28
Problem: The DFT Destroys Sparsity!
Continuous
DISCRETE
Sample
Exact Derivative
Gibb’s Ringing!

## Slide 29
Problem: The DFT Destroys Sparsity!
Continuous
DISCRETE
Sample
FINITE DIFFERENCE
Exact Derivative
Not Sparse!

## Slide 30
Consequence: TV fails in super-resolution setting
x8
Ringing Artifacts
Fourier

## Slide 31
Challenges:
Continuous domain sparsity Discrete domain sparsity
What are the continuous domain analogs of sparsity?
Can we pose recovery as a convex optimization problem?
Can we give recovery guarantees, a la TV-minimization?
Can we move beyond the DISCRETE PARADIGM in Compressive Imaging?

## Slide 32: New Off-the-Grid Imaging Framework: Theory

## Slide 33
Classical Off-the-Grid Method: Prony (1795)
Uniform time samples
Off-the-grid
frequencies
  Robust variants: Pisarenko (1973), MUSIC (1986), ESPRIT (1989), Matrix pencil (1990) . . . Atomic norm (2011)

## Slide 34
Main inspiration: Finite-Rate-of-Innovation (FRI) [Vetterli et al., 2002]
Uniform Fourier samples
Off-the-grid
PWC signal
  Recent extension to 2-D images: Pan, Blu, & Dragotti (2014), “Sampling Curves with FRI”.

## Slide 35
Annihilation Relation:
spatial domain
multiplication
annihilating function
annihilating filter
convolution
Fourier domain

## Slide 36
annihilating function
annihilating filter
Stage 1: solve linear system for filter
recover signal
Stage 2: solve linear system for amplitudes

## Slide 37
Annihilation Relation:
spatial domain
multiplication
annihilating function
annihilating filter
convolution
Fourier domain

## Slide 38
annihilating function
annihilating filter
Stage 1: solve linear system for filter
recover signal
Stage 2: solve linear system for amplitudes

## Slide 39
Isolated Diracs
Challenges extending FRI to higher dimensions: Singularities not isolated
2-D PWC function

## Slide 40
Isolated Diracs
Challenges extending FRI to higher dimensions: Singularities not isolated
2-D PWC function
Diracs on a Curve

## Slide 41
spatial domain
Fourier domain
multiplication
annihilating function
annihilating filter
convolution
Recall 1-D Case…

## Slide 42
2-D PWC functions satisfy an annihilation relation
spatial domain
Annihilation relation:
Fourier domain
multiplication
annihilating filter
convolution

## Slide 43
Can recover edge set when it is the zero-set of a 2-D trigonometric polynomial [Pan et al., 2014]
“FRI Curve”

## Slide 44
25x25 coefficients
13x13 coefficients
Multiple curves
& intersections
Non-smooth
points
Approximate
arbitrary curves
7x9 coefficients
FRI curves can represent complicated edge geometries with few coefficients

## Slide 45
Not suitable for natural images
2-D only
Recovery is ill-posed: Infinite DoF
We give an improved theoretical framework for higher dimensional FRI recovery
[Pan et al., 2014] derived annihilation relation for piecewise complex analytic signal model

## Slide 46
Extends easily to n-D
Provable sampling guarantees
Fewer samples necessary for recovery
We give an improved theoretical framework for higher dimensional FRI recovery [O. & Jacob, SampTA 2015]
Proposed model: piecewise smooth signals

## Slide 47
Prop: If f is PWC with edge set for bandlimited to then
Annhilation relation for PWC signals
any 1st order partial derivative

## Slide 48
Proof idea: Show as tempered distributions
Use convolution theorem
Prop: If f is PWC with edge set for bandlimited to then
Annhilation relation for PWC signals
any 1st order partial derivative

## Slide 49
Distributional derivative of indicator function:
divergence theorem
smooth test function
Weighted curve integral

## Slide 50
Prop: If f is PW linear, with edge set and bandlimited to then
Annhilation relation for PW linear signals
any 2nd order partial derivative

## Slide 51
Prop: If f is PW linear, with edge set and bandlimited to then
Annhilation relation for PW linear signals
any 2nd order partial derivative
product rule x2
annihilated by
Proof idea:

## Slide 52
Can extend annihilation relation to a wide class of piecewise smooth images.
Any constant coeff. differential operator

## Slide 53
Signal Model:
PW Constant
PW Analytic*
PW Harmonic
PW Linear
PW Polynomial
Choice of Diff. Op.:
1st order
2nd order
nth order
Can extend annihilation relation to a wide class of piecewise smooth images.

## Slide 54
Signal Model:
PW Constant
PW Analytic*
PW Harmonic
PW Linear
PW Polynomial
Choice of Diff. Op.:
1st order
2nd order
nth order
Can extend annihilation relation to a wide class of piecewise smooth images.

## Slide 55
Signal Model:
PW Constant
PW Analytic*
PW Harmonic
PW Linear
PW Polynomial
Choice of Diff. Op.:
1st order
2nd order
nth order
Can extend annihilation relation to a wide class of piecewise smooth images.

## Slide 56
Sampling theorems:
Necessary and sufficient number of Fourier samples for
Unique recovery of edge set/annihilating polynomial
Unique recovery of full signal given edge set
  Not possible for PW analytic, PW harmonic, etc.
  Prefer PW polynomial models
 Focus on 2-D PW constant signals

## Slide 57
  Proof (a la Prony’s Method): Form Toeplitz matrix T from samples, use uniqueness of Vandermonde decomposition:
Challenges to proving uniqueness
“Caratheodory Parametrization”
1-D FRI Sampling Theorem [Vetterli et al., 2002]: A continuous-time PWC signal with K jumps can be uniquely recovered from 2K+1 uniform Fourier samples.

## Slide 58
  Extends to n-D if singularities isolated [Sidiropoulos, 2001]
  Not true in our case--singularities supported on curves:
  Requires new techniques:
  Spatial domain interpretation of annihilation relation
  Algebraic geometry of trigonometric polynomials
Challenges proving uniqueness, cont.

## Slide 59
Prop: Every zero-set of a trig. polynomial C with no isolated points has a unique real-valued trig. polynomial of minimal degree such that if
then and
Minimal (Trigonometric) Polynomials
Define to be the dimensions of the smallest rectangle containing the Fourier support of
Degree of min. poly. = analog of sparsity/complexity of edge set

## Slide 60
  Zero-sets of trig polynomials of degree (K,L) are in 1-to-1 correspondence with Real algebraic plane curves of degree (K,L)
Proof idea: Pass to Real Algebraic Plane Curves
Conformal change of variables

## Slide 61
Theorem: If f is PWC* with edge set with minimal and bandlimited to then
is the unique solution to
Uniqueness of edge set recovery
*Some geometric restrictions apply
Requires samples
of in to build equations

## Slide 62
Gap between necessary and sufficient # of samples:
Restrictions on geometry of edge sets: non-intersecting
Current Limitations to Uniqueness Theorem
Necessary
Sufficient

## Slide 63
Theorem: If f is PWC* with edge set with minimal and bandlimited to then
is the unique solution to
when the sampling set
Uniqueness of signal (given edge set)
*Some geometric restrictions apply

## Slide 64
Theorem: If f is PWC* with edge set with minimal and bandlimited to then
is the unique solution to
when the sampling set
Uniqueness of signal (given edge set)
*Some geometric restrictions apply
Equivalently,

## Slide 65: Summary of Proposed Off-the-Grid Framework
Extend Prony/FRI methods to recover multidimensional singularities (curves, surfaces)
Unique recovery from uniform Fourier samples: # of samples proportional to degree of edge set polynomial
Two-stage recovery
  Recover edge set by solving linear system
  Recover amplitudes

## Slide 66: Summary of Proposed Off-the-Grid Framework
Extend Prony/FRI methods to recover multidimensional singularities (curves, surfaces)
Unique recovery from uniform Fourier samples: # of samples proportional to degree of edge set polynomial
Two-stage recovery
  Recover edge set by solving linear system (Robust?)
  Recover amplitudes (How?)

## Slide 67: New Off-the-Grid Imaging Framework: Algorithms

## Slide 68
Introduction
Off-the-Grid Image Recovery: New Framework
Sampling Theorems
Algorithms
Discussion & Conclusion

## Slide 69
LR INPUT
Two-stage Super-resolution MRI Using Off-the-Grid Piecewise Constant Signal Model [O. & Jacob, ISBI 2015]
Off-the-grid
1. Recover edge set
2. Recover amplitudes
Computational Challenge!
Off-the-grid
Spatial
Domain Recovery
Discretize
HR OUTPUT
2. Recover amplitudes
On-the-grid

## Slide 70
Matrix representation of annihilation
2-D convolution matrix
(block Toeplitz)
2(#shifts) x (filter size)
gridded center
Fourier samples
vector of filter coefficients

## Slide 71
Basis of algorithms: Annihilation matrix is low-rank
Prop: If the level-set function is bandlimited to and the assumed filter support then
Spatial domain
Fourier domain

## Slide 72
Basis of algorithms: Annihilation matrix is low-rank
Prop: If the level-set function is bandlimited to and the assumed filter support then
Fourier domain
Assumed filter: 33x25
Samples: 65x49
Rank 300
Example: Shepp-Logan

## Slide 73
1. Compute SVD
Stage 1: Robust annihilting filter estimation
Average over entire null-space
Eliminates spurious zeros / improves robustness
Generalizes Spectral MUSIC
3. Compute sum-of-squares average
Recover common zeros
2. Identify null space

## Slide 74
Stage 2: Weighted TV Recovery
discretize
relax
x = discrete spatial domain image
D = discrete gradient
A = Fourier undersampling operator
b = k-space samples
Edge weights

## Slide 75
Super-resolution of MRI Medical Phantoms
Analytical phantoms from [Guerquin-Kern, 2012]
x8
x4

## Slide 76
x2
Super-resolution of Real MRI Data

## Slide 77
Super-resolution of Real MRI Data (Zoom)

## Slide 78
LR INPUT
Two Stage Algorithm
Off-the-grid
1. Recover edge set
2. Recover amplitudes
Computational Challenge!
Off-the-grid
Spatial
Domain Recovery
Discretize
HR OUTPUT
2. Recover amplitudes
On-the-grid
Need uniformly sampled region!

## Slide 79
INPUT
One Stage Algorithm [O. & Jacob, SampTA 2015]
Jointly estimate edge set and amplitudes
Off-the-grid
OUTPUT
Interpolate Fourier data
Accommodate random samples

## Slide 80
Pose recovery as a one-stage structured low-rank matrix completion problem
Recall:
Toeplitz-like matrix built from Fourier data

## Slide 81
Pose recovery as a one-stage structured low-rank matrix completion problem

## Slide 82
Pose recovery as a one-stage structured low-rank matrix completion problem
Lift
Toeplitz
1-D Example:
Missing data

## Slide 83
Pose recovery as a one-stage structured low-rank matrix completion problem
Toeplitz
1-D Example:
Complete matrix

## Slide 84
Pose recovery as a one-stage structured low-rank matrix completion problem
Project
Toeplitz
1-D Example:

## Slide 85
Pose recovery as a one-stage structured low-rank matrix completion problem
NP-Hard!

## Slide 86
Entirely off the grid
Extends to CS paradigm
Use regularization penalty for other inverse problems off-the-grid alternative to TV, HDTV, etc
Pose recovery as a one-stage structured low-rank matrix completion problem
Convex Relaxation
Nuclear norm – sum of singular values

## Slide 87
Standard algorithms are slow: Apply ADMM = Singular value thresholding (SVT) Each iteration requires a large SVD:
Real data can be “high-rank”:
Computational challenges
(#pixels) x (filter size)
e.g. 106 x 2000
e.g.
Singular values of
Real MR image

## Slide 88
IRLS: Iterative Reweighted Least Squares
Proposed for low-rank matrix completion in [Fornasier, Rauhut, & Ward, 2011], [Mohan & Fazel, 2012]
Adapt to structured matrix case:
Without modification, this approach is slow!
Proposed Approach: Adapt IRLS algorithm

## Slide 89
GIRAF = Generic Iterative Reweighted Annihilating Filter
Exploit convolution structure to simplify IRLS algorithm:
Condenses weight matrix to single annihilating filter
Solves problem in original domain
GIRAF algorithm [O. & Jacob, ISBI 2016]

## Slide 91
Table: iterations/CPU time to reach convergence tolerance of NMSE < 10-4.
Convergence speed of GIRAF

## Slide 92
Fully sampled TV (SNR=17.8dB) GIRAF (SNR=19.0)
50% Fourier samples
Random uniform error error

## Slide 93
Summary
New framework for off-the-grid image recovery
  Extends FRI annihilating filter framework to piecewise polynomial images
  Sampling guarantees
Two stage recovery scheme for SR-MRI
  Robust edge mask estimation
  Fast weighted TV algorithm
One stage recovery scheme for CS-MRI
  Structured low-rank matrix completion
  Fast GIRAF algorithm
WTV

## Slide 94
Future Directions
Focus: One stage recovery scheme for CS-MRI
  Structured low-rank matrix completion
Recovery guarantees for random sampling?
What is the optimal random sampling scheme?

## Slide 95
Thank You!
References
Krahmer, F. & Ward, R. (2014). Stable and robust sampling strategies for compressive imaging. Image Processing, IEEE Transactions on, 23(2), 612-
Pan, H., Blu, T., & Dragotti, P. L. (2014). Sampling curves with finite rate of innovation. Signal Processing, IEEE Transactions on, 62(2), 458-471.
Guerquin-Kern, M., Lejeune, L., Pruessmann, K. P., & Unser, M. (2012). Realistic analytical phantoms for parallel Magnetic Resonance Imaging.Medical Imaging, IEEE Transactions on, 31(3), 626-636
Vetterli, M., Marziliano, P., & Blu, T. (2002). Sampling signals with finite rate of innovation. Signal Processing, IEEE Transactions on, 50(6), 1417-1428.
Sidiropoulos, N. D. (2001). Generalizing Caratheodory's uniqueness of harmonic parameterization to N dimensions. Information Theory, IEEE Transactions on,47(4), 1687-1690.
Ongie, G., & Jacob, M. (2015). Super-resolution MRI Using Finite Rate of Innovation Curves. Proceedings of ISBI 2015, New York, NY.
Ongie, G. & Jacob, M. (2015). Recovery of Piecewise Smooth Images from Few Fourier Samples. Proceedings of SampTA 2015, Washington D.C.
Ongie, G. & Jacob, M. (2015). Off-the-grid Recovery of Piecewise Constant Images from Few Fourier Samples. Arxiv.org preprint.
Fornasier, M., Rauhut, H., & Ward, R. (2011). Low-rank matrix recovery via iteratively reweighted least squares minimization. SIAM Journal on Optimization, 21(4), 1614-1640.
Mohan, K, and Maryam F. (2012). Iterative reweighted algorithms for matrix rank minimization." The Journal of Machine Learning Research 13.1 3441-3473.
Acknowledgements
Supported by grants: NSF CCF-0844812, NSF CCF-1116067, NIH 1R21HL109710-01A1, ACS RSG-11-267-01-CCE, and ONR-N000141310202.